DOOR INSTALLATION

1. Door assembly starts with moving the doors to the place where the assembly will be made according to the locations specified in the project.

2. For the doors that are moved to the areas to be mounted, damage determination is performed first. If there is a damaged product, it must be photographed and reported.

3. The suitability of the mounting dimensions left on the panel where the door will be mounted should be checked. On the panel where the door will be attached, on the wall, etc. If the spaces left are suitable, installation begins.

4. The following illustrated explanation is followed for sliding and swinging doors. For the sectional door and the speed door, the assembly guide that comes out of the package is followed.

1-Sliding Door Installatıon

2-Standart Hinged Door Installation

3-Premium Hinged Door Installation

FAULTS MADE FREQUENTLY IN DOOR ASSEMBLY

1-Door Sill

## door sill corner junction fault

Door sill silicone and riveting faullt

The door sill corner joint  should be cut 45 degrees and  should be mounted with a single rivet cleanly.