FRIGOLED INSTALLATION MANUAL

1.Step : Assembling materials used for the product

2. Step : Power supply of the product is enabled as follows:

NEUTRAL (Blue), PHASE (Brown) and GROUND (Yellow) ends are made available for the cable terminal, and a ferrule is attached.

3.Step : The surface where the product is to be installed is determined and necessary measurements are performed.

4. Step : A hole with a diameter of 10-15mm is drilled on the panel in order to ensure the transit to from the point which is determined after the measurement to point where the supply cable leaves the panel.

5. Step : The product is placed on the proper installation surface and fixed by means of self tapping screws.

6. Step : The supply cable is moved out of the panel through the hole and the hole is closed.

7.Step : The supply cables reinforced by the ferrule are connected with the supply cable originated from the main line and NEUTRAL (Blue), PHASE (Brown) and EARTH (Yellow) ends correctly.

8.Step : After assembling of lightening was finished, open portions of the cable hole must be sealed with silicone.